### VERIDIAN PHARMA LTD. — Hyderabad Facility

# Standard Operating Procedure: Cold Chain Shipping and Temperature Control

| Document ID: SOP-LAB-025 | Version: 1.0 | Effective Date: 2026-07-08 |
| --- | --- | --- |
| Owner: Arjun Nair (Lab Manager) | Department: Laboratory Operations | Status: Effective |

## 1. Purpose

This standard operating procedure governs the validated packaging, temperature conditioning, documentation, and dispatch of temperature-sensitive analytical, stability, and reference standard samples from Veridian Pharma Ltd., Hyderabad.

The objective is to preserve cold chain integrity during transport to contract testing laboratories, clinical study sites, and inter-company testing facilities, ensuring no thermal degradation occurs during distribution.

Strict adherence to validated thermal packaging configurations guarantees sample stability under external climatic fluctuations.

## 2. Scope

Applies to all laboratory samples requiring refrigerated distribution shipped by the Laboratory Operations department.

Encompasses active drug substance samples, formulated drug product release samples, stability test pulls, and biological working standards.

Governs packing technicians, shipping coordinators, and dedicated logistics service providers.

## 3. Responsibilities

Shipping Technician: Condition thermal packaging components, pack payloads according to validated configurations, and insert calibrated temperature loggers.

Lab Manager (Arjun Nair): Approve sample transfer requests, review temperature data downloads upon receipt, and initiate investigations into cold chain excursions.

Logistics Coordinator: Coordinate priority transit with approved couriers and ensure shipments depart on designated schedule days.

## 4. Procedure

4.1 Thermal Container Qualification: All refrigerated samples must be packed in qualified insulated thermal shipping containers prior to pickup to ensure thermal barrier performance.

4.2 Gel Pack Pre-Conditioning: Refrigerated thermal gel packs must be conditioned at the designated stabilization temperature for at least 48 hours prior to packout.

4.3 Thermal Range and Transit Limitation: Covers only 2-8 °C shipments using gel packs, 24-hour transit max.

4.4 Continuous Datalogger Placement: Temperature dataloggers must be activated, verified, and placed directly adjacent to the sample vials inside the primary pay-load compartment.

4.5 Payload Shock Mitigation: The payload chamber must be cushioned to eliminate physical movement and shock during transit using pharmaceutical-grade bubble wrap.

4.6 Documentation Envelope Placement: Consignment documentation, including shipping manifest and cold chain chain-of-custody forms, must be placed on top of the insulated lid before outer sealing.

4.7 External Security Labeling: The shipping box must be sealed with security tape and tagged with external refrigerated handling warnings to ensure prompt cold-room placement upon arrival.

4.8 Courier Dispatch Scheduling: Shipments must be scheduled only on approved courier dispatch days to avoid transit weekend delays and unplanned warehouse layovers.

## 5. Records and Documentation

Cold Chain Shipping Registers, datalogger calibration certificates, electronic temperature download curves, and courier delivery acknowledgments must be filed with each transfer order.

## 6. Revision History

| Version | Effective Date | Change Description |
| --- | --- | --- |
| 1.0 | 2026-07-08 | Initial release for cold chain shipping procedures. |